Statement of Work

**1. Purpose**

Provide connectivity to the network equipment to be moved from the current IDF residing at Cherokee Springs Golf Course into a newly minted IDF at Cherokee Springs Golf Course.

**2. Scope**

2.1. The project will consist of moving all network cables, moving cables to external antennas, terminating the cables onto the IDF cabinet in the new IDF.

2.2. The sites are as follows:

* + Cherokee Springs golf course located at 700 E Ballentine Rd, Tahlequah, OK 74464.

**2.3. Cherokee Springs Golf Course**

We require all network drops currently terminating into the current IDF to be moved from the current IDF to the newly adjacent IDF. We need all of the externally mounted antennas to be routed inside to the new IDF location. We also need a quote for a UPS that ideally will work with 30A power. We also need the cables terminated and vendor must supply wall plate(s) and low-voltage mounting kit(s) for this location. Additionally, each drop must be tested and verified.

**2.4. Vendor supplied materials.**

We expect the vendor to use and supply Panduit wall plates, keystone jacks, and cabling at all of the above locations. We expect the vendor to also install j-hooks where necessary.