**CED CULTURAL TOURISM**

**Will Rogers Birthplace Ranch**

**Site Utilities- Fire Protection**

**Addendum 1, 5.30.25**

1. A revised Scope of Work with updated bid form is attached. The following changes to the scope are highlighted within the document:
	1. Added Geotechnical report for the site to assist bidders with determining soil types.
	2. Removed requirement for tap, tap fees, meter, and coordination with Rogers County RWD#4. Owner will coordinate this work. Contractor shall install the 2” line as shown, capped and unconnected within 5’ of RWD main.
	3. Added refilling of water storage tank after successful testing at the expense of the contractor.
	4. Added Rock Clause and bid line for rock excavation cost per CY.

**-END OF ADDENDUM 1-**