## Boiler Plant
Boiler # | Make | Model |  | Serial # | BTU
BLR #1 | Camus | DFNH-3500-MHI-SC |  | 21215195
BLR #2 | Camus | DFNH-3500-MHI-SC |  | 21215197
Boiler primary motor
Motor # | Make | Model | Serial # CAT #NO |  | HP
BM #1 | Leeson | C182C17DK2A | 131604 |  | 3
BM #2 | Lesson | C182C17DK2A | 131604 |  | 3
Primary BP
PP #1 | Armstrong | 3X3X8 | 699805
PP #2 | Armstrong | 3X3X8 | 699806
Assembly
Motor # | Make | Model |  | Serial#
SHWP #1 | Armstrong | 4X4X8 |  | 698569
SHWP #2 | Armstrong | 4X4X8 |  | 698569
Motor # | Make | Model |  | Serial #
HWPM #1 | Armstrong | 015360T3E215TC |  | 1013920774
HWPM #2 | Baldor | CAT NO. CEM3314T |  | F1803015835
Motor # |  |  |  | Serial # | HP
Motor # | Make | Model |  | Serial #
Assembly

## Chiller Plant
Chiller # | Make |  | Model | Serial #
#1 | Dakian |  | AWS330BDPEVNN-ER10 | STNU120200143
Condenser Pump Motors
Motor # | Make |  | Model | Serial # |  | HP
NA
Condenser Pump Assembly
Motor # | Make | Model |  | Serial #
NA
Evaporator Pump Motors
Motor # | Make |  | Model | Serial # | HP | HP
CWPM #1 | Armstrong | 430533-083 |  | 1150 | 20
CWPM #2 | Armstrong | 430533-083 |  | 1148 | 20
Evaporator Pump Assembly
Motor # | Make | Model |  | Serial #
CHWP #1 | Armstrong |  | 4X4X8 4302TC 698569
CHWP #2 | Armstrong | 4X4X8 4302TC |  | 698569

## Cooling Tower
Cooling Tower # | Make |  | Model | Serial #
Cooling Tower Motors
Tower Motor | Make | Model |  | Serial #/Part # | HP
Motor Gear Reducer
Model
Tower sweeper Motors
BF PUMPS
Coolin Tower Vibration Switch

## Valves
Chilled Condensor Acuators
Chiller | Tag | Model
Chiller | Tag | Model
Plate & Frame
| Tag | Model
Chilled Evaporator Acuators
Chiller C1 | Tag | Model
Chiller D1 | Tag | Model
Cooling Tower Sump Valves
| Tag | Model
Valves (Other Utilities in Central Plant, Natural gas, water)

## VFD Drives
Plant VFD Data
VFD Make | Model # | Serial # | Equipment Serves
ABB | ACH550-PDR-031A4 | 2121500206 | CHWP #1
ABB | ACH550-PDR-031A4 | 2121500191 | CHWP #2
ABB | ACH550-PDR-023A-4 | 2121500323 | SHHWP #1
ABB | ACH550-PDR-023A-4 | 2121500330 | SHHWP #2

## EXT tanks
EXT TANK | Make | Model | S/N
CHW | Wessels Co | CRN L9700.05 | 199285
HHW | Wessels Co | CRN L9700.05 | 199286

## Fuses
Fuse | Quanity