## Boiler Plant
Boiler # | Make | Model |  | Serial # | BTU
BLR-1 | CAMUS | DRNH-1800-MSI |  | 71623129 | 1800000
BLR-2 | CAMUS | DRNH-1800-MSI |  | 71623128 | 1800000
BLR-3 | CAMUS | DRNH-1800-MSI |  | 61623107 | 1800000
Motor # | Make | Model | Serial # |  | HP
SHHWPM-1 | WEG | 15360T3E215TC-S |  | 806439 | 15
SHHWPM-2 | WEG | 15360T3E215TC-S |  | 806439 | 15
Assembly
Motor # | Make | Model |  | Serial#
SHHWPM-1 | ARMSTRONG | 3X3X6 43312
SHHWPM-2 | ARMSTRONG | 3X3X6 43312
Motor # | Make | Model |  | Serial # | HP
Primary MotorA-1 | BALDOR | VM3542 |  | 34A63-883 | 0.75
Primary MotorA-2 | BALDOR | VM3542 |  | 34A63-883 | 0.75
Primary MotorA-3 | BALDOR | VM3542 |  | 34A63-883 | 0.75
Motor # | Make | Model |  | Serial #
Assembly
Primary pump A1 | ARMSTRONG | 3X3X6 4380
Primary pump A2 | ARMSTRONG | 3X3X6 4380
Primary pump A3 | ARMSTRONG | 3X3X6 4380

## Chiller Plant
Chiller # | Make |  | Model | Serial #
Chiller #1 | DAIKIN |  | AWV020AJJNAC-ER10 | STNU160700091
Chiller #2 | DAIKIN |  | AWV020AJJNAC-ER10 | STNU160700102
Condenser Pump Motors
Motor # | Make |  | Model | Serial # |  | HP
Condenser Pump Assembly
Motor # | Make | Model |  | Serial #
Evaporator Pump Motors
Motor # | Make |  | Model | Serial # | Part # | HP
EPM-1 | Armstrong | 4300533-083 |  | 2718 |  | 20
EPM-2 | Armstrong | 4300533-083 |  | 2721 |  | 20
Evaporator Pump Assembly
Motor # | Make | Model |  | Serial #
EPM-1 | Armstrong | DE43020606-0200 |  | 826553
EPM-2 | Armstrong | DE43020606-0200 |  | 826553

## Cooling Tower
Cooling Tower # | Make |  | Model | Serial #
Cooling Tower Motors
Tower Motor | Make | Model |  | Serial #/Part # | HP
Motor Gear Reducer
Model
Tower sweeper Motors
BF PUMPS
Coolin Tower Vibration Switch

## Valves
Chilled Condensor Acuators
Chiller | Tag | Model
Chiller | Tag | Model
Plate & Frame
| Tag | Model
Chilled Evaporator Acuators
Chiller C1 | Tag | Model
Chiller D1 | Tag | Model
Cooling Tower Sump Valves
| Tag | Model
Valves (Other Utilities in Central Plant, Natural gas, water)

## VFD Drives
Plant VFD Data
VFD Make | Model # | Serial # | Equipment Serves
ABB.INC | ACH550-UH-023A-4+BO55 |  | SHHWPM-A1
ABB.INC | ACH550-UH-023A-4+BO55 |  | SHHWPM-A2
ABB.INC | ACH550-UH-031A-4+B055 | 62163002572
ABB.INC | ACH550-UH-031A-4+B055 | 62163002579

## Fuses
Fuse | Quanity