## Boiler Plant
Boiler # |  | Make |  | Model | Serial # | BTU
810 |  | Camus |  | DFNH-5000MHI | 50806851 | 5000000
820 |  | Camus |  | DFNH-5000MHI | 50806850 | 5000000
830 |  | Camus |  | DFNH-5000MHI | 50806831 | 5000000
840 |  | Camus |  | DFNH-5000MHI | 50806847 | 5000000
850 |  | Camus |  | DFNH-5000MHI | 50806846 | 5000000
860 |  | Camus |  | DFNH-5000MHI | 50806833 | 5000000
Primary Pump Motors
Motor # |  | Make |  | Model | Serial # | HP
PM-810 |  | Baldor |  | 36G687T862 | F0805225214 | 3
PM-820 |  | Baldor |  | 36G687T862 | F0806124523 | 3
PM-830 |  | Baldor |  | 36G687T862 | F0806124638 | 3
PM-840 |  | Baldor |  | 36G687T862 | F0806124533 | 3
PM-850 |  | Baldor |  | 36G687T862 | F0806124643 | 3
PM-860 |  | Baldor |  | 36G687T862 | F0806124593 | 3
Primary Pump Assembly
Motor # |  | Make |  | Model | Serial #
PM-810 |  | Taco |  | KV4007AE2JCB720M | N/A | 3
PM-820 |  | Taco |  | KV4007AE2JCB720M | N/A | 3
PM-830 |  | Taco |  | KV4007AE2JCB720M | N/A | 3
PM-840 |  | Taco |  | KV4007AE2JCB720M | N/A | 3
PM-850 |  | Taco |  | KV4007AE2JCB720M | N/A | 3
PM-860 |  | Taco |  | KV4007AE2JCB720M | N/A | 3
Secondary Pump Motors
Motor # |  | Make |  | Model | Serial # | HP
PM-870 |  | Baldor |  | 42E105W388G2 | Z0806101466 | 40
PM-880 |  | Baldor |  | 42E105W388G2 | Z0806101451 | 40
PM-890 |  | Baldor |  | 42E105W388G2 | Z0806101456 | 40
Secondary Pump Assembly
Motor # |  | Make |  | Model | Serial # | Seal Kit | Sleeve Kit
PM-870 |  | Paco |  | 2940158145001 | 197102463710A | 91909232 | 91909376
PM-880 |  | Paco |  | 2940158145001 | 197102463730A | 91909232 | 91909376
PM-890 |  | Paco |  | 2940158145001 | 197102463710D | 91909232 | 91909376
Secondary HHW Loop Pump
Pump # |  | Make |  | Model | Size | Type
Pump 3 | Pentair-Aurora |  |  | 08-03183786-1 | 3x4x11L | 3344
Pump 4 | Pentair |  |  | 08-03183786-2 | 3x4x11L | 3344
Secondary Loop HHW Motor
Motor # |  | Make |  | Catalog # | M # | HP
Motor 3 |  | Emerson |  | D20P2B | R352 | 20
Motor 4 |  | Emerson |  | D20P2B | R352 | 20

## Chiller Plant
Chiller # | Make | Model | Serial #
110 | Trane | CVHF-770 | L08B00689
120 | Trane | CVHF-770 | L08B00690
130 | Trane | CVHF-770 | L08B00623
Evaporator Pump Motors
Motor # | Make | Model | Serial # | HP
PM-310 | Baldor | 44E150W204G1 | C0804280210 | 75
PM-320 | Baldor | 44E150W204G1 | C0805220165 | 75
PM-330 | Baldor | 44E150W204G1 | C0804280200 | 75
Evaporator Pump Assembly
Motor # | Make | Model | Serial # | Seal Kit | Sleeve Kit
PM-310 | Paco | 29501591450011922EE | 197102300110A | 91909256 | 91909631
PM-320 | Paco | 29501591450011922EE | 197102300110B | 91909256 | 91909631
PM-330 | Paco | 29501591450011922EE | 197102341970 | 91909256 | 91909631
Condensor Pump Motors
Motor # | Make | Model | Serial # | HP
PM-410 | Baldor | 39E213X268G1 | Z0805092021 | 30
PM-420 | Baldor | 39E213X268G1 | Z0805092016 | 30
PM-430 | Baldor | 39E213X268G1 | Z0805092026 | 30
Condensor Pump Assembly
Motor # | Make | Model | Serial # | Seal Kit | Sleeve Kit
PM-410 | Paco | 29601241450011892EE | 197102300150B | 91909266 | 91909631
PM-420 | Paco | 29601241450011892EE | 197102300150A | 91909266 | 91909631
PM-430 | Paco | 29601241450011892EE | 197102300170 | 91909266 | 91909631
Secondary chilled Loop Evaporator Pump
Pump # | Make | Model | Size | Type
Pump 1 | Pentair Aurora | 13-2364919 | 4x5x13.5L | 3344
Pump 2 | Pentair Aurora | 08-03183774-2 | 4x5x13.5L
Secondary Chilled Loop Evaporator Motor
Motor # | Make | Model | Serial # | HP
Motor 1 | Marathon | 324TTDCA6026 | 450157389-75006 | 40
Motor 2 | Emerson | R357 | C# D40P213 | 40

## Cooling Tower
Cond. Tower # | Make | Model | Serial # |  | Belt #
610A | Evapco | AT-212-636 | 8-335522 | 6/B148
610B | Evapco | AT-212-636 | 8-335522 | 6/B148
620 | Evapco | AT 112-618 | 8-335523 | 6/B158
Cooling Tower Motors
Cond. Tower Motor# | Make | Model | Serial # |  | HP
FM-610A | Baldor | 12E700X277G2 | C0805160191 |  | 40
FM-610B | Baldor | 12E700X277G2 | C0805160192 |  | 40
FM-620 | Baldor | 12E700X277G2 | C0805160193 |  | 40

## VFD Drives
SOUTH PLANT VFD AND FUSE DATA
VFD Make | CAT # | SERIAL # | Equipment Serves | FUSE
| Secondary HHW Pumps |  |  | FUSE HHW PUMPS AND CONTROL CIRCUIT
Allen-Bradley/Power Flex 70 | 20A-D-052-A-OAYNANCO (Series "A") | 1JBL0ZW3 | PM-870
Allen-Bradley/Power Flex 70 | 20A-D-052-A-OAYNANCO (Series "A") | 1JBL2VY0 | PM-880
Allen-Bradley/Power Flex 70 | 20A-D-052-A-OAYNANCO (Series "A") | 1JBLORH8 | PM-890
| Evaporator Pumps |  |  | FUSE EVAPORATOR PUMPS AND CONTROL CIRCUT
Allen-Bradley/Power Flex 700 | 20B-D-096-A-0-ANNANCO (Series "B") | MEAH9ZF6 | PM-310
Allen-Bradley/Power Flex 700 | 20B-D-096-A-0-ANNANCO (Series "B") | MEAI0QQ6 | PM-320
Allen-Bradley/Power Flex 700 | 20B-D-096-A-0-ANNANCO (Series "B") | MEAI0QS6 | PM-330
| Cooling Tower |  |  | FUSE COOLING TOWER AND CONTROL CIRCUIT
Allen-Bradley/Power Flex 700 | 20B-D-052-A-0-AYNANC0 (Series "B") | 1JBLOCL7 | CT-610-A
Allen-Bradley/Power Flex 700 | 20B-D-052-A-0-AYNANC0 (Series "B") | 1JBLORC2 | CT-610-B
Allen-Bradley/Power Flex 700 | 20B-D-052-A-0-AYNANC0 (Series "B") | 1JBLORH8 | CT-620
Chillers

## Fuses
SOUTH PLANT FUSE INVENTORY
TOTAL NUMBER OF FUSES AND FUSE TYPE | EQUIPMENT SERVES | FUSE/INVENTORY | PICTURES
MAIN MOTOR PROTECTION IS OVERLOADS TRANSFORMER FUSE, (9) ATQR2, 600VAC, 2A | CONDENSER PUMP MOTOR-410 | ( 10 ) 2 AMP
CONDENSER PUMP MOTOR-420
CONDENSER PUMP MOTOR-430
(9) DUAL ELEMENT TIME DELAY AJT150, 600VAC, 500VDC, 150A (9) CONTROL CIRCUIT FUSE, LP-CC- 1-6/10A, CLASS "CC" CURRENT LIMITING | EVAPORATOR PUMP MOTOR-310 | ( 3 ) 150 AMP ( 10 ) 1-6/10
EVAPORATOR PUMP MOTOR-320
EVAPORATOR PUMP MOTOR-330
(9) DUAL ELEMENT TIME DELAY AJT90, 90A, 600VAC, 500VDC (9) CONTROL CIRCUIT FUSE ATQR1, 1A, 600V | COOLING TOWER 610-A | ( 6 ) 90 AMP FUSES AT SOUTH PLANT ( 10 ) 1 AMP
COOLING TOWER 610-B
COOLING TOWER 620
(9) DUAL ELEMENT TIME DELAY AJT90, 90A, 600VAC, 500VDC (9) CONTROL CIRCUIT FUSE LP-CC-1-1/4A, CLASS "CC" CURRENT LIMITING | HHW SECONDARY PUMP MOTOR-870 | 90-AMP IS THE SAME AS COOLING TOWER FUSES ( 10 ) 1-1/4 AMP
HHW SECONDARY PUMP MOTOR-880
HHW SECONDARY PUMP MOTOR-890
MAIN MOTOR PROTECTION IS OVERLOADS (18) CONTROL CIRCUIT FUSE, ATQR1, 600V, 1A | HHW BOILERS PRIMARY PUMP MOTOR PM-810 THRU PM-860 | 1-AMP IS THE SAME AS COOLING TOWER fUSES
N/A | HWW BOILERS 810-860 | N/A
MAIN CHILLER CABINET (6) FRS-R-15AMP 600V (2) FRN-N-40 250V | CHILLERS 110-120 | (0) FRS-R-15 (0) FRN-N-40
MAIN CHILLER CABINET (2) FRS-R-10 (2) ATQR-10 | CHILLERS 130 | (0) FRS-R-10 (0) ATQR-10

## VALVES
TAS SOUTH PLANT VALVE / HR TOWER HTX VALVE / INVENTORY
Chiller Evaporator | Make | Model # | Serial # | stroke/SEC | Volts AC/DC-1PH | Torque | Quantity
Keystone | EPI-2 (E51) | E051A0W5000 | 074654T03065 | 12/110 | 24/240 | 5100 | 0
Chiller Condenser
Keystone | EPI-2 (E51) | E051A0W5000 | 064188T53093 | 12/110 | 24/240 | 5100 | 0
Cooling Tower Bypass
Keystone | EPI-2 (E51) | EO51A0W5000 | 124514T004052 | 12/110 | 24/240 | 5100 | 0
Main Tower Bypass
Keystone | EPI-2(E91) | E091A0W5000 | 084420T02001 | 20/180 | 24/240 | 9100 | 0
HR TOWER HTX VALVES
HEAT EXCHANGERS
BELIMO CHW | BELIMO/SY4-110 | SY4-110 | N/A | 16/sec/60Hz | 110VAC | 400Nm/3560 In. Lb | 0
BELIMO HHW | BELIMO/SY3-110 | SY3-110 | N/A | 22/sec/60Hz | 110VAC | 150Nm/1335 In. Lb | 0
OM1 Card / 3 IN STOCK
VALVES IN STOCK WITH NEW DC/AC VOLTAGE RATING ( KEYSTONE ) ( WILL WORK FOR REPLACEMENT )
Make | Model # | Serial # | Stroke/SEC | Volts DC/AC-1PH | Torque | Quantity
EPI-2 (E5100) | E051AHW5000 | 164093T001039 | 15/28/48 | 100/240 | 5100 | 0/With OM1
EPI-2 (E2500) | E025AHW5000 | 144171T007024 | 15/28/48 | 100/240 | 2500 | 1/With OM1
EPI-2(E9100) | E091A4W5000 | 144063T003017 | 20/180 | 100/240 | 9100 | 1/With OM1

## Fuse Inven. 5-20-21
SOUTH PLANT FUSE FUSE INVENTORY
FUSE TYPE | COUNT | PIC.
GMA250 | 20
LP-CC-1-6/10 600VAC | 10
LP-CC-1-1/4 600VAC | 10
FNQ-R-1 | 10
FNQ-R-2 | 10
JTD 90 | 3
LPJ-90SP | 3
LPJ-150SP | 3