## Boiler Plant
Boiler # | Make | Model |  | Serial # | BTU
JAY-B-1 | CAMUS | DRNW-1400-MSI |  | 81317891 | 1400000
JAY-B-2 | CAMUS | DRNW-1400-MSI |  | 81317892 | 1400000
Motor # | Make | Model | Serial # |  | HP
Assembly
Motor # | Make | Model |  | Serial#
Motor # | Make | Model |  | Serial # | HP
Motor # | Make | Model |  | Serial #
Assembly

## Chiller Plant
Chiller # | Make |  | Model | Serial #
Condenser Pump Motors
Motor # | Make |  | Model | Serial # |  | HP
Condenser Pump Assembly
Motor # | Make | Model |  | Serial #
Evaporator Pump Motors
Motor # | Make |  | Model | Serial # | Part # | HP
Evaporator Pump Assembly
Motor # | Make | Model |  | Serial #

## Cooling Tower
Cooling Tower # | Make |  | Model | Serial #
Cooling Tower Motors
Tower Motor | Make | Model |  | Serial #/Part # | HP
Motor Gear Reducer
Model
Tower sweeper Motors
BF PUMPS
Coolin Tower Vibration Switch

## Valves
Chilled Condensor Acuators
Chiller | Tag | Model
Chiller | Tag | Model
Plate & Frame
| Tag | Model
Chilled Evaporator Acuators
Chiller C1 | Tag | Model
Chiller D1 | Tag | Model
Cooling Tower Sump Valves
| Tag | Model
Valves (Other Utilities in Central Plant, Natural gas, water)

## VFD Drives
Plant VFD Data
VFD Make | Model # | Serial # | Equipment Serves

## Fuses
Fuse | Quanity