## Boiler Plant
Boiler # | Make | Model |  | Serial # | BTU
BLR #1 | Cambus | DFNH-3500-MHI |  | 21215198
BLR #2 | Cambus | DFNH-3500-MHI |  | 21215195
Boiler primary pumps
BP #1 | Make | Model | Serial # |  | HP
BP #1 | Armstrong | 3X3X8 |  | 699808 | 3
PB #2 | Armstrong | 3X3X8 |  | 699807 | 3
Boiler pump motor
Motor # | Make | Model |  | Serial#
BPM #1 | Baldor | JML1408T |  | F1711271650
BPM #2 | Baldor | JML1408T |  | F1711271630
PUMP Assembly
HWP # | Make | Model |  | Serial # | HP
HWP #1 | Armstrong | 4302-6X6X6 |  | 701074 A1 HHWP | 15
HWP #2 | Armstrong | 4302-6X6X6 |  | 701074 A2 HHWP | 15
HWP motors
Motor # | Make | Model |  | Serial #
HWPM #1 | Armstrong 020360T3E254TC 1012181217
HWPM #2 | Armstrong | 020360T3E254TC |  | 1012181214

## Chiller Plant
Chiller # | Make |  | Model | Serial #
SCH #1 | Daikin |  | AWV022AMJNAC-ER10 | STNU170200088
Condenser Pump Motors
Motor # | Make |  | Model | Serial # |  | HP
NA
Condenser Pump Assembly
Motor # | Make | Model |  | Serial #
NA
Evaporator Pump Motors
Motor # | Make |  | Model | Serial # | Part # | HP
CHWPM #1 | Amrstrong | 025360T3E256TC |  | 1012497979 |  | 20
CHWPM #2 | Amrstrong | 025360T3E256TC |  | 1012497975 |  | 20
Evaporator Pump Assembly
Motor # | Make | Model |  | Serial #
CHWP #1 | Armstrong |  | 4302-4X4X8 700541 A1 CHWP
CHWP #2 |  | 4302-4X4X8 |  | 700541 A2 CHWP

## Cooling Tower
Cooling Tower # | Make |  | Model | Serial #
Cooling Tower Motors
Tower Motor | Make | Model |  | Serial #/Part # | HP
Motor Gear Reducer
Model
Tower sweeper Motors
BF PUMPS
Coolin Tower Vibration Switch

## Valves
Chilled Condensor Acuators
Chiller | Tag | Model
Chiller | Tag | Model
Plate & Frame
| Tag | Model
Chilled Evaporator Acuators
Chiller C1 | Tag | Model
Chiller D1 | Tag | Model
Cooling Tower Sump Valves
| Tag | Model
Valves (Other Utilities in Central Plant, Natural gas, water)

## VFD Drives
Plant VFD Data
VFD Make | Model # | Serial number | Equipment Serves
ABB | ACH550-PDR-038A-4 | 2121403628 | CHWP #1
ABB | ACH550-PDR-038A-4 | 2121403637 | CHWP #2
ABB | AHC550-PDR-031A-4 | 2121404888 | SHHWP #1
ABB | AHC550-PDR-031A-4 | 2121404887 | SHHWP #2

## EXP tanks
EXP Tank | Make | Model | Serial number
CHW EXP | Wessel CO | CRN L9700.50 | 199276
HHW EXP | Wessel CO | CRN L9700.50 | 199280

## EXT Tanks
# | make | model | serial number
CHW EXT tank | Wessel Co | CRN L 9700.50 | 199276
HHW EXT tank | Wessel Co | CRN L 9700.50 | 199280

## Fuses
Fuse | Quanity