## Boiler Plant
Boiler # | Make | Model |  | Serial # | BTU
BLR-B1 | Camus | DRNH-5000-MSI | Dynaforce | 101420101 | 5000000
BLR-B2 | Camus | DRNH-5000-MSI | Dynaforce | 101420102 | 5000000
BLR-B3 | Camus | DRNH-5000-MSI | Dynaforce | 101420103 | 5000000
Motor # | Make | Model | Serial # |  | HP
HHWP-B1 | WEG | 005180T3E184JM-S | 1024957528 |  | 5
HHWP-B2 | WEG | 005180T3E184JM-S | 1024957543 |  | 5
HHWP-B3 | WEG | 005180T3E184JM-S | 1024957550 |  | 5
Assembly
Pump # | Make | Model |  | Serial#
HHWP-B1 | Armstrong | 3x3x8 4380 |  | 762464
HHWP-B2 | Armstrong | 3x3x8 4380 |  | 762466
HHWP-B3 | Armstrong | 3x3x8 4380 |  | 762465
Motor # | Make | Model |  | Serial # | HP
SHHWP-1 | WEG | 040180T3E324TC |  | 1024513911 | 40
SHHWP-2 | WEG | 040180T3E324TC |  | 102451808 | 40
Pump # | Make | Model |  | Serial #
Assembly
SHHWP-1 | Armstrong | 8x8x11.5 4302TC |  | 763386
SHHWP-2 | Armstrong | 8x8x11.5 4302TC |  | 763386

## Chiller Plant
Chiller # | Refrig. | Make |  | Model | Serial #
C1 |  | Daikin |  | WDC079-DCCCC | STNU141200057 |  | 700
| 134A | 1937lbs
D1 |  | Daikin |  | WDC079-DCCCC | STNU141200067 |  | 700
| 134A | 1937lbs
Condenser Pump Motors
Motor # |  | Make |  | Model | Serial # |  | HP
CWP-C1 |  | WEG |  | T001FoFON0000Y02182 | 1022650628 |  | 40
CWP-D1 |  | WEG |  | T001FoFON0000Y02182 | PES194941-1-A |  | 40
Condenser Pump Assembly
Pump # |  | Make | Model |  | Serial #
CWP-C1 |  | Armstrong | 10x10x13 4300TC |  | 763155 |  | 40
CWP-D1 |  | Armstrong | 10x10x13 4300TC |  | 763156 |  | 40
Evaporator Pump Motors
Motor # |  | Make |  | Model | Serial # | Part # | HP
CHWP-C1 |  | WEG | 050180T3E326TC |  | 1024022073 |  | 50
CHWP-D1 |  | WEG | 050180T3E326TC |  | 1024202074 |  | 50
Evaporator Pump Assembly
Pump # |  | Make | Model |  | Serial #
CHWP-C1 |  | Armstrong | 6x6x13 4300TC |  | 762635 |  | 50
CHWP-D1 |  | Armstrong | 6x6x13 4300TC |  | 762636 |  | 50
HX |  | GEA | 2014 NTI50SBYF-300 |  | ENA-150/50231

## Cooling Tower
Cooling Tower # | Make |  | Model |  | Serial #
CT-C1 | Marley |  | NC8411TAN2BGF | 10095866-A1
CT-D1 | Marley |  | NC8411TAN2BGF | 10095866-A2
Cooling Tower Motors
Tower Motor | Make | Model |  |  | Serial #/Part # | HP
CT-C1 Fan | WEG | MCT-A04004E1-W22 |  |  | 1025709074 | 40
CT-D1 Fan | WEG | MCT-A04004E1-W22 |  |  | 1025709074 | 40
Motor Gear Reducer
Model
CT-C1 | Marley | 2250-2579-2254077-5.50
CT-D1 | Marley | 2250-2579-2254077-5.50
Tower sweeper Motors
BF-C1 | WEG | D1036EP215JM-W22 |  |  | 1025088788 | 10
BF-D1 | WEG | D1036EP215JM-W22 |  |  | 1025088788 | 10
BF PUMPS
BF-C1 |  | 3036K341W HE |  |  | 1417473 K14
MP 15 SF 3X3
Repair Kit |  | 118.000.343
Seal |  | BN-Carbon Seal 5.50 Dia.
BF-D1 |  | 3036K341W HE |  |  | 1417473 K14
MP 15 SF 3X3
Repair Kit |  | 118.000.343
Seal |  | BN-Carbon Seal 5.50 Dia.
Coolin Tower Vibration Switch
CT-C1/D1 |  | Marley M-5 121-010 |  |  | 11336

## Valves
Chilled Condensor Acuators
Chiller C1 |  | Tag | Model
| Belimo | C251 | F6200VIC SY4-110
| Belimo | C252 | F6200VIC SY4-110
Choke Valve | Belimo | C202 | F6250VIC SY5-120MFT
Chiller D1 |  | Tag | Model
| Belimo | D251 | F6200VIC SY4-110
| Belimo | D252 | F6200VIC SY4-110
Choke Valve | Belimo | D202 | F6250VIC SY5-120MFT
Plate & Frame
|  | Tag | Model
HX VLV Evap bypass | Belimo | C141 | F6200VIC SY4-110
HX VLV Closed Loop | Belimo | B137 | SY6-120MFT
HX VLV Evap bypass | Belimo | D141 | F6200VIC SY4-110
Chilled Evaporator Acuators
Chiller C1 |  | Tag | Model
| Belimo | C153 | F6250VIC SY5-110
| Belimo | C154 | F6250VIC SY5 120MFT
Chiller D1 |  | Tag | Model
| Belimo | D153 | F6250VIC SY5-110
| Belimo | D154 | F6250VIC SY5 120MFT
Cooling Tower Sump Valves
|  | Tag | Model
CT-C1 | Belimo | C208 | F6250VIC SY5-120MFT
CT-D2 | Belimo | D208 | F6250VICSY5-120MFT
Valves AOG
Gas Meter | Roots meter |  | B/M 051837-004 | 16K175 | 16000CFH
S/N 1327364
Regulator | DIVAL 600G TR |  | Sr 200900314346
Strainer | 4 inch | A-356-T6

## VFD Drives
Roland Plant VFD Data
VFD Make | Model # | Serial # | Equipment Serves
HHW Pumps MCP "B"
ABB | ACH550-UH-059A-4 | 2145104278 | SHHWP-B1
ABB | ACH550-UH-059A-4 | 2145104809 | SHHWP-B2
Boilers MCP "B"
Lenze | Type:SM450 Id-No 13428600 | 356471333 | B-B1
Lenze | Type:SM450 Id-No 13428600 | 356451333 | B-B2
Lenze | Type:SM450 Id-No 13428600 | 319421343 | B-B3
Compressors MCP "C"
Allen Bradley | 21H10361-2200 | 38483456 | Comp. 1
Allen Bradley | 21H10361-2200 | 38473990 | Comp. 2
CT and Evap Pumps MCP "C"
ABB | ACH550-UH-059A-4 | 2143902135 | CT-C1
ABB | ACH550-UH-059A-4 | 2144504728 | CHWP-C1
Compressors MCP "D"
Allen Bradley | 21H10361-2200 | 38473987 | Comp. 1
Allen Bradley | 21H10361-2200 | 38483463 | Comp. 2
CT and Evap Pumps MCP "D"
ABB | ACH550-UH-059A-4 | 2143902120 | CT-D1
ABB | ACH550-UH-059A-4 | 2144504757 | CHWP-D1

## Fuses
Boilers 1,2,3 | Quanity | In-Stock | In-Stock
Class JTD 15A | 12 | Class JTD 15A =0
SHHWP 1 & 2
Class JTD 80A | 6 | Class JTD 80A =0 | Class LPJ 80A =10
Chiller VFD control fuse
FNQ-R-12 | 8 | FNQ-R-12 = 10
CT-C1/D1
Class JTD 80A | 6
CHWP-C1/D1
Class JTD 100A | 6 | Class JTD 100A =0 | Class LPJ 100A =12
CWP-C1/D1
Class JTD 80A | 6
Compressor control cabinet
FNQ-25A | 4 | FNQ-25A =10
Compressor control cabinet
FNQ-5A | 4 | FNQ-5A =10
Cooling Towers Vibe. Switch
Class CC ATMR2-2A | 2 | ATMR2-2A =0 | KTK-R-2 =10
Class LPJ 30A =10

## Aux Equip
Expansion Tanks | Mark | Make | Model | Serial | Gallons
Hot Water Loop | ET-2 | Wessels | NLAP-815 | CRN L8227.5c | 250
Chilled Water Loop | ET-1 | Wessels | NLAP-400 | CRN L8310.5c | 104
Air/Dirt Seperators | Mark | Make | Model | Serial | GPM
Hot Water Loop | AS-2 | Spirotherm Armstrong | VHT06 | CRN K8206. 1C A-8-H | 900
Chilled Water Loop | AS-1 | Spirotherm Armstrong | VHT12 | W V A-12-H | 3150
Make up Water Meters |  | Make | Model | Serial
Tower C |  | Advantage Controls | AWM-150 | VF 16 000779
Tower D |  | Advantage Controls | AWM-150 | VD 16 000800
Hot Water Loop |  | Pumps and Controls | PCM-075-10G | 16-05-0911
Chilled Water Loop |  | Pumps and Controls | PCM-075-10G | 16-05-0906
Blow Down Meters |  | Make | Model | Serial
Tower C |  | Niagara | 413 | 1509641
Tower D |  | Niagara | 413 | 1601455
Heat Trace Controllers |  | Make | Model | Serial
Tower C |  | Trasor | THL-1S -X-Q10 | NA
Tower D |  | Trasor | THL-1S -X-Q10 | NA
CHW-Flow Meter |  | Onicon | F-3500 | 1123175 (Previously 292589)
HHW-Flow Meter |  | Onicon | F-3500 | 292590

## Hilti Tools
All Hilti Tools
Hilti Batteries
SN:#3270858 SN:#3270860 SN:#3270864 SN:#3270865
Hilti Chargers
SN:#270240108 SN:#270240171
Hilti Flashlight & Cutoff Tool
Cut Off Tool SN:#19369 Flashlight SN:#1040820
Hilti Hammer Drill
Hilti Impact Driver
Hilti Recip. Saw & Batt. & Char.

## RPZ
Backflow Preventer | Size | Make | Model | Serial
| 3" | Wilkins | 375 | L87650

## Refrig.CO Monitor
Refridgerant Gas Monitor | Make | Model | Serial | Asset Tag #
Genesis International Inc. | Sherlock | 802 | 14J-SHLR-8-00666 | ROL-CP-RGS-1
Carbon Monoxide Monitor | Make | Model | Serial | Asset Tag #
| Kele SMD | KCOR-0504 | NA | ROL-CP-RGS-2