## Boiler Plant
Boiler # | Make | Model |  | Serial # | BTU
BLR-A1 | Camus | DRNH-5000-MSI |  | 91827199
BLR-A2 | Camus | DRNH-5000-MSI |  | 91827300
BLR-A3 | Camus | DRNH-5000-MSI |  | 91827301
Boiler primarys motors
Motor # | Make | Model | Serial # |  | HP
PPM 1 | Armstrong | 40015222-283 |  | 1220 | 3
PPM 2 | Armstrong | 40015222-283 |  | 1217 | 3
PPM 3 | Armstrong | 40015222-283 |  | 980 | 3
Boiler pumps Assembly
Motor # | Make | Model |  | Serial#
BP A1 | Armstrong | 5X5X8 4380
BP A2 | Armstrong | 5X5X8 4380
BP A3 | Armstrong | 5X5X8 4380
SSHWPM
Motor # | Make | Model |  | Serial # | HP
HPM -A1 | Armstrong | 4300531-283 |  | 914 | 15
HPM-A2 | Armstrong | 4300531-283 |  | 916 | 15
SHHWP assembly
Motor # | Make | Model |  | Serial #
SHHWP -A1 | Armstrong | 4X4X11.5 |  | 1018268086
SHHWP-A2 | Armstrong 4X4X11.5 1018268086

## Chiller Plant
Chiller # | Make |  | Model | Serial #
SCH #1 | Daikin |  | AWV026ARMNNNN00 | STNU181000185
SCH #2 | Daikin |  | AWV026ARMNNNN00 | STNU181000209
SCH #3 | Daikin |  | AWV026ARMNNNN00 | STNU181000201
Condenser Pump Motors
Motor # | Make |  | Model | Serial # |  | HP
NA
Condenser Pump Assembly
Motor # | Make | Model |  | Serial #
NA
Evaporator Pump Motors
Motor # | Make |  | Model | Serial # | Part # | HP
CHWP-A1 | WEG | RO30360T3E284TSC |  | PES.301113-7-C
CHWP-A2 | WEG | RO30360T3E284TSC |  | PES.301113-7-B
CHWP-A3 | WEG | RO30360T3E284TSC |  | PES.301113-7-A
Evaporator Pump Assembly
Motor # | Make | Model |  | Serial #
CHWP-A1 | Armstrong |  | 4300TC | 101830508
CHWP-A2 | Armstrong | 4300TC |  | 101830508
CHWP-A3 | Armstrong | 4300TC |  | 101830508

## Cooling Tower
Cooling Tower # | Make |  | Model | Serial #
Cooling Tower Motors
Tower Motor | Make | Model |  | Serial #/Part # | HP
Motor Gear Reducer
Model
Tower sweeper Motors
BF PUMPS
Coolin Tower Vibration Switch

## Valves
Chilled Condensor Acuators
Chiller | Tag | Model
Chiller | Tag | Model
Plate & Frame
| Tag | Model
Chilled Evaporator Acuators
Chiller C1 | Tag | Model
Chiller D1 | Tag | Model
Cooling Tower Sump Valves
| Tag | Model
Valves (Other Utilities in Central Plant, Natural gas, water)

## EXT tanks
TANK | Make | Model | Serial
EXT CHW | Wessels | 296293 | CRN L9700.50
EXT HHW | Wessels | 296293 | CRN L9700.50

## AST
AST | Make | Model | Se
AST HHW | SPIROTHERM | 10385 | 9398
AST CHW | SPIROTHERM | 2986 | 9436

## VFD Drives
Plant VFD Data
VFD Make | Model # | Serial # | Equipment Serves
ABB | ACH550-VCR-23A-4 | 2183706368 | SHHWP-A1
ABB | ACH550-VCR-23A-4 | 2183706321 | SHHWP-A2
ABB | ACX550-UO-045A-4 | 2183706508 | CHWP-1
ABB | ACX550-UO-045A-4 | 2183800018 | CHWP-2
ABB | ACX550-UO-045A-4 | 2183800024 | CHWP-3

## Fuses
Fuse | Quanity