## Boiler Plant
Boiler # | Make | Model |  | Serial # | BTU
Motor # | Make | Model | Serial # |  | HP
Assembly
Motor # | Make | Model |  | Serial#
Motor # | Make | Model |  | Serial # | HP
Motor # | Make | Model |  | Serial #
Assembly

## Chiller Plant
Chiller # | Make |  | Model | Serial #
Chiller #1 | Daikin Mcquay |  | AWS300ADPEWNN-ER10 | STNU110200021
CHW Separartor
Motor # | Make |  | Model | Serial # |  | HP
| Armstrong |  | 570114 026 K042158231674TON
CHW EX tank
Motor # | Make | Model |  | Serial #
| Weeeels.Co |  | 180557 | CRN L8142.5C
Evaporator Pump Motors
Motor # | Make |  | Model | Serial # | Part # | HP
Motor CHWP #1 | WEG nema | 15180T3E254TC
Motor CHWP #2 | WEG nema | 15180T3E254TC
Evaporator Pump Assembly
Motor # | Make | Model |  | Serial #
CHWP-A1 | Armstrong |  | 6X6X8 4300TC | 665692
CHWP-A2 | Armstrong | 6X6X8 4300TC |  | 665691
t

## Cooling Tower
Cooling Tower # | Make |  | Model | Serial #
Cooling Tower Motors
Tower Motor | Make | Model |  | Serial #/Part # | HP
Motor Gear Reducer
Model
Tower sweeper Motors
BF PUMPS
Coolin Tower Vibration Switch

## Valves
Chilled Condensor Acuators
Chiller | Tag | Model
Chiller | Tag | Model
Plate & Frame
| Tag | Model
Chilled Evaporator Acuators
Chiller C1 | Tag | Model
Chiller D1 | Tag | Model
Cooling Tower Sump Valves
| Tag | Model
Valves (Other Utilities in Central Plant, Natural gas, water)

## VFD Drives
Plant VFD Data
VFD Make | Model # | Serial # | Equipment Serves
ABB.INC | ACH550-VCR-023A-4 | 2110103528
ABB.INC | ACH550-VCR-023A-4 | 2110103533

## Fuses
Fuse | Quanity