## Boiler Plant
Boiler # | Make |  | Model | Serial #
810 | Camus |  | DFNH-5000MHI | 50806830
820 | Camus |  | DFNH-5000MHI | 50806832
830 | Camus |  | DFNH-5000MHI | 50806840
840 | Camus |  | DFNH-5000MHI | 50806841
850 | Camus |  | DFNH-5000MHI | 50806849
860 | Camus |  | DFNH-5000MHI | 50806848
Primary Pump Motors
Motor # | Make |  | Model | Serial # | HP
PM-810 | Baldor |  | 36G687T862 | F0806124648 | 3
PM-820 | Baldor |  | 36G687T862 | F0806124658 | 3
PM-830 | Baldor |  | 36G687T862 | F0806124598 | 3
PM-840 | Baldor |  | 36G687T862 | F0806124538 | 3
PM-850 | Baldor |  | 36G687T862 | F0806124543 | 3
PM-860 | Baldor |  | 36G687T862 | F0806124518 | 3
Primary Pump Assembly
Motor # | Make |  | Model
PM-810 | Taco |  | KV4007AE2JCB720M
PM-820 | Taco |  | KV4007AE2JCB720M
PM-830 | Taco |  | KV4007AE2JCB720M
PM-840 | Taco |  | KV4007AE2JCB720M
PM-850 | Taco |  | KV4007AE2JCB720M
PM-860 | Taco |  | KV4007AE2JCB720M
Secondary Pump Motors
Motor # | Make |  | Model | Serial # | HP
PM-870 | Baldor |  | 42E105W388G2 | Z0806101461 | 40
PM-880 | Baldor |  | 42E105W388G2 | Z0806101471 | 40
PM-890 | Baldor |  | 42E105W388G2 | Z0806101446 | 40
Secondary Pump Assembly
Motor # | Make |  | Model | Serial #
PM-870 | Paco |  | 2940157145001 | 197102463730B
PM-880 | Paco |  | 2940158145001 | 197102463710C
PM-890 | Paco |  | 2940158145001 | 197102463710B
Secondary Pump Wear Ring Kit
Motor #
PM-870 |  | 91909418
PM-880 |  | 91909418
PM-890 |  | 91909418

## National Board #
Equipment # | Brand | Model | Serial # |  | National Board (NB) # | Location
Boiler 810 | Camus | DFNH-5000-MHI | #050806830 | 50806830 | NB# 1691 | Boiler Plant
Boiler 820 | Camus | DFNH-5000-MHI | #050806832 |  | NB# 1692 | Boiler Plant
Boiler 830 | Camus | DFNH-5000-MHI | #050806840 |  | NB# 1697 | Boiler Plant
Boiler 840 | Camus | DFNH-5000-MHI | #050806841 |  | NB# 1698 | Boiler Plant
Boiler 850 | Camus | DFNH-5000-MHI | #050806849 |  | NB# 1702 | Boiler Plant
Boiler 860 | Camus | DFNH-5000-MHI | #050806848 |  | NB# 1701 | Boiler Plant
Hot Loop Pressure Tank | John Wood | JEBR25-17 | 145152 |  | NB# 145152 | Boiler Plant
Chilled Loop Pressure Tank | John Wood | JEBR25-12 | 22340 |  | NB# 9051 | Hotel Basement
Hotel Domestic Pressure Tank | Wessels | 155965 | L8141 |  | NB# 155965 | Hotel Basement
Boiler #1 | Lochinvar | CFN0991PM | E08H00209112 |  | NB# 209112 | 2nd floor Mechanical room west side
Boiler #2 | Lochinvar | CFN0991PM | E08H00209111 |  | NB# 209111 | 2nd floor Mechanical room east side
Boiler #3 | Lochinvar | CFN0991PM | J09H00222032 |  | NB# 222032 | Hotel Basement North side
Boiler #4 | Lochinvar | CFN0991PM | I09H00221852 |  | NB# 221852 | Hotel Basement South side
Note on I11: Mike Carr: This number was verified by Don Stewart on 7-16-18

## Chiller Plant
Chiller # |  | Make | Model | Serial #
110 |  | Trane | CVHF-770 | L08B00681
120 |  | Trane | CVHF-770 | L08B00680
130 |  | Trane | CVHF-770 | L08B00622
Evaporator Pump Motors
Motor # |  | Make | Model | Serial # | HP
PM-310 |  | Baldor | 44E150W204G1 | C0805220175 | 75
PM-320 |  | Baldor | 44E150W204G1 | C0804280205 | 75
PM-330 |  | Baldor | 44E150W204G1 | C0805220170 | 75
Evaporator Pump Assembly
Motor # |  | Make | Model | Serial #
PM-310 |  | Paco | 2950159145001 | 197102341910A
PM-320 |  | Paco | 2950159145001 | 197102341910B
PM-330 |  | Paco | 2950159145001 | 197102341930
Condenser Pump Motors
Motor # |  | Make | Model | Serial # | HP
PM-410 |  | Baldor | MOO 98667493-001 | X0807 | 30
PM-420 |  | Baldor | M00 98667493-002 | X0807 | 30
PM-430 |  | Baldor | M00 98667493-003 | X0807 | 30
Condenser Pump Assembly
Motor # |  | Make | Model | Serial #
PM-410 |  | Paco | 29601241450011892EE | 197102300150B
PM-420 |  | Paco | 29601241450011892EE | 197102300150A
PM-430 |  | Paco | 29601241450011892EE | 197102300170
Wear Ring Kits
Motor #
PM-410 | Condenser | 91909638
PM-420 | Condenser | 91909638
PM-430 | Condenser | 91909638
Motor #
PM-310 | Evaporator | 91909628
PM-320 | Evaporator | 91909628
PM-330 | Evaporator | 91909628

## Cooling Tower
Cond. Tower # | Make | Model | Serial # |  | Belt #
610A | Evapco | 212-636 | 8-340427
610B | Evapco | 212-636 | 8-340427
620 | Evapco | 112-618 | 8-340425 | 17X3750B148
Cooling Tower Motors
Cond. Tower Motor# | Make | Model | Serial # |  | HP
FM-610A | Baldor |  |  |  | 40
FM-610B | Baldor |  |  |  | 40
FM-620 | Baldor | 12E700X277G2 | C0805160193 |  | 40

## Valves
Valve # | Evaporator
XV 110 | EPI 2 MOD. E25 E025A0W1000
XV 120 | EPI 2 MOD. E25 E025A0W1000
XV 130 | EPI 2 MOD. E25 E025A0W1000
Valve # | Condenser
XV 111 | EPI 2 MOD. E51 E051AW1000
XV 121 | EPI 2 MOD. E51 E051AW1000
XV 131 | EPI 2 MOD. E51 E051AW1000
Valve # | Tower Bypass
610A Model is E51 E051AOW5000
620B Model is E51 E051AOW5000
620 Model is E51 E051AOW5000
Valve # | TCV-640 Bypass
TCV 640 | Model is E91 E091A0W5000