REQUEST FOR PROPOSAL

GENERAL CONTRACTOR

Little Flock Church Restoration (Re-Bid)

April 6, 2026

ADDENDUM 1

Questions & Answers

- Question: It is calling floor tile but not shown in the drawings.  Is this to be the whole facility?

Response: Refer to Section B PROJECT SPECIFIC SCOPE, item 7. d. "Flooring shall be Daltile Emerson Wood - 6" x 48" Rectangle Floor and Wall Tile, color TBD." Install over entire floor area.

- Question: Is there a print coming out to show lighting and electrical locations?

Response: See drawing set attached with revised sheet A101 dated 6/6/24. This drawing set shall replace and supersede the drawings posted in original procurement posting.