Annual Fire Systems Inspection 2026, Scopes of Work

Gold Strike Casino Resort

1010 Casino Center Dr

Robinsonville, MS 38664

Fire Doors

Contractor will inspect, test, and certify the fire alarm systems detailed below for Gold Strike. Contractor will satisfy requirements of the most current edition of NFPA 80 along with applicable regulations. Contractor will conform to the equipment manufacturer recommendations and verify operation of fire doors meets those recommendations.

Inspections will be performed in a capacity that will minimize impact to the facility and guests. Testing will take into consideration any Local, State, or Federal requirements. Contractor will follow NFPA 80 recommended test methods and frequencies as a minimum guideline for testing. Complete documentation of testing and along with a written report of any deficiencies will be provided at the conclusion of testing.

- 6 Drop down fire doors

- Perform visual inspection of door and releasing mechanisms.

- Perform annual fire door drop test twice as required per NFPA regulations and the authority having jurisdiction.

- Fusible links are required to be replaced only if they are found to be defective or damaged.

- Attach appropriate fire inspection tag on doors after testing.

- Provide report of inspection findings.

- All work to be performed during normal business hours.

- Contractor shall be licensed in the state of MS prior to the work beginning.

Alarms

Contractor will inspect, test, and certify the fire alarm systems detailed below for Gold Strike. Contractor will satisfy requirements of the most current edition of NFPA 72 along with applicable regulations. Contractor will conform to the equipment manufacturer recommendations and verify operation of the fire alarm systems meets those recommendations.

Inspections will be performed in a capacity that will minimize impact to the facility and guests. Testing will take into consideration any Local, State, or Federal requirements. Contractor will follow NFPA 72 recommended test methods and frequencies as a minimum guideline for system testing. Complete documentation of testing and along with a written report of any deficiencies will be provided at the conclusion of testing. Audible testing may be conducted during off or non-operational hours, and the schedule shall be pre-approved by Gold Strike.

- 280 Fire Alarms

- Perform visual inspections and testing of all fire alarms including strobes, smoke detectors, heat detectors, pull stations, and duct detectors.

- Perform audible testing to all smoke detectors and alarms.

- Perform testing to ensure all alarms report to the command center.

- Provide report of inspection findings.

- All work to be performed during normal business hours.

- Contractor shall be licensed in the state of MS prior to the work beginning.