Annual Fire Systems Inspection 2026, Scope of Work

Gold Strike Casino Resort

1010 Casino Center Dr

Robinsonville, MS 38664

Sprinklers

Contractor will inspect, test, and certify the sprinkler systems detailed below for Gold Strike. Contractor will satisfy requirements of the most current edition of NFPA 25 along with applicable regulations. Contractor will conform to the equipment manufacturer recommendations and verify operation of the fire alarm systems meets those recommendations.

Inspections will be performed in a capacity that will minimize impact to the facility and guests. Testing will take into consideration any Local, State, or Federal requirements. Contractor will follow NFPA 25 recommended test methods and frequencies as a minimum guideline for system testing. Complete documentation of testing and along with a written report of any deficiencies will be provided at the conclusion of testing.

- Perform annual standpipe inspection (5).

- Perform annual wet fire sprinkler inspection (45).

- Perform annual dry sprinkler inspection (2).

- Perform annual pre-action sprinkler inspection (3).

- All work to be performed during normal business hours.

- Contractor shall be licensed in the state of MS prior to the work beginning.