Project Overview
This project involves the design, fabrication, and installation of a custom entryway structure spanning over an existing driveway, entrance informational signage and site signage.  The entrance signage will be a visually appealing architectural feature that enhances the property’s entrance. The additional signage on the property is for informational and directional purposes.

1. Design & Planning

- Develop detailed architectural and structural design drawings for all signage.

- Confirm dimensions based on driveway width, clearance requirements, and site conditions for overhead structure. Develop appropriate sizing for informational and directional signage along with materiality

- Determine locations of informational and directional signage on the property

- Ensure compliance with local building codes, zoning regulations, and height/clearance requirements for vehicles.

- Obtain necessary permits and approvals prior to construction.

- Lighting at the entryway should be included and designed

2. Site Preparation

- Inspect and mark utility lines to prevent conflicts during construction.

- Prepare foundation areas on both sides of the driveway for structural supports as needed.

- Excavate and pour concrete footings sized according to structural load calculations.

- Determine foundations and securing of informational and directional signage

5. Finishing Work

- Finish surfaces per design specifications.

- Touch up as needed after installation.

- Install optional features such as lighting, signage, or decorative accents if included in the design.

- Clean the work area and remove construction debris.

6. Quality Assurance & Safety

- Conduct structural inspections to ensure stability and compliance with engineering specifications.

- Verify clearance height for safe vehicle passage.

- Ensure all work meets applicable safety standards and building codes.

- Address any deficiencies prior to project completion.

7. Project Closeout

- Provide final inspection and walkthrough with the client.

- Deliver documentation including warranties, maintenance guidelines, and as-built drawings.

- Confirm client approval and project completion.

Exclusions (unless otherwise specified)

- Electrical work beyond basic provisions (e.g., advanced lighting systems).

- Landscaping or driveway modifications outside the immediate work area.

- Ongoing maintenance beyond initial installation.

Estimated Timeline
Project duration will vary depending on design complexity, permitting, and weather conditions but is typically estimated at 4–8 weeks from approval to completion.

Deliverables

- Completed entryway structure installed over driveway with Will Rogers Birthplace Ranch lettering; also two manual, hinged gates capable of locking and wide enough for two way traffic.

- Completed informational signage at property entrance

- Completed directional signage on the property

- Approved design and engineering documents

- Maintenance and care instructions